EAST LOTHIAN COUNCIL

ROAD SERVICES

INSPECTION CERTIFICATE FOR ROAD LIGHTING INSTALLATIONS

I CERTIFY that the electrical installation at:

LOCATION

………………………………………………………………………………………………

……………………………………………………………………………………………….

has been inspected and tested in accordance with the IEE Regulations for electrical installations (16th edition) and the results are satisfactory unless otherwise indicated below.

INSTALLATION DETAILS

Unit numbers to be included in this test:…………………………………………………….

……………………………………………………………………………………………….

……………………………………………………………………………………………….

Column type: …………..………………… Lantern type: ...………………………………..

TYPE OF EARTHING ARRANGEMENT (312-3)…………………………………………

TYPE(S) OF PROTECTIVE DEVICE………………………………………………………

EARTH FAULT LOOP IMPEDANCE AT ORIGIN (313-3)……………………………….

CONTINUITY OF PROTECTIVE CONDUCTORS

AND EQUIPOTENTIAL BONDING ………………….. (613-3)…………………………

INSULATION RESISTANCE OF INSTALLATION (613-5/6/7)………………………….

INSPECTION CERTIFICATE (CONTINUED)

POLARITY OF SINGLE POLE DEVICES

FOR PROTECTION AND SWITCHING …………………(613-14)………………………

EARTH FAULT FOOP IMPEDANCE AT FURTHEST UNIT (613-15)………………….

METHOD OF COMPLIANCE WITH IEE REGULATION (413-3)……………………….

SIZE OF LIVE CONDUCTORS (612-1)……………………………………………………

(IEE Regulation numbers in brackets)

Equipment tested

Signed …………………………….. Date …………………………………………….

On behalf of …………………………………………………………………………………….

Address …………………………………………………………………………………………

…………………………………………………………………………………………………..