## Info
Development name
Development company
Most recent Planning application number(s) | e.g. 21/XXXXX/PM (Planning Permission in Principle) | e.g. 21/XXXXX/AM (Approval of Matters) | Any other relevant Planning Application
Draft RCC number
Final RCC number
Developer contacts
| Name | Phone | Email
Developer contact
Engineering contact
Declaration
| Name | Signature of engineer completing this spreadsheet
I confirm that the information provided in these spreadsheets is accurate and complete. In particular, there is no apparatus (private or public) in or under the prospectively adoptable roads or paths which is not shown in the drawings listed below and submitted for Construction Consent |  | Signature
ELC Contacts
| Name | Phone | Email
Transport Planning Officer |  |  | transportplanning@eastlothian.gov.uk
Lighting Officer |  | 07899 877 573 | lighting@eastlothian.gov.uk
Flooding and Drainage Officer |  | 01875 824000 | flooding@eastlothian.gov.uk
Structures Officer |  | 07973 658 039 | structures@eastlothian.gov.uk
EV Infrastructure Officer |  | 07821 960 865 | evcharging@eastlothian.gov.uk
Transport Officer (bus services) |  | 01620 827700 | amclellan@eastlothian.gov.uk
Process
| Included? Y/N or n/a | Date issued | Developer comments | P/C/F/N | ELC response
CC1 Form
CC2 form
CC2/N form
Scottish Water Technical Audit
Structures Technical Approval
ELC Streetlighting approval
ELC charging infrastructure approval
Quality Audit incl. Stage 2 Road Safety Audit
Lengths and width of roads and remote paths
| Length (m) | Width (m) including verges and footways | Developer comments | P/C/F/N | ELC response
e.g. Road A
e.g. Road B
e.g. Road C
e.g. Road D
e.g. Path A
e.g. Path B
Details of any other adoptable area e.g. swales or SuDS feature
Details of any other adoptable area e.g. swales or SuDS feature
etc.
Drawings
| Included? Y/N | Drawing Number | Developer comments | P/C/F/N | ELC response
Location Plan
General Arrangement Plan
Road Setting Out Plan
Road longitudinal sections
Kerbing Layout
Surfacing materials
Vehicle swept path analysis
Road adoption plan (incl. grit bins and bus shelters)
Land Factoring Plan (incl. litter bins)
Signs and lines drawing
Traffic signals layout and Operational Details
Street lighting layout and calculations
Structural Details and Assessment
Electric Vehicle Infrastructure
ELC Road Construction Details | Y | ELC-RCC-001 December 2020
Additional Road Construction Details
ELC Drainage Construction Details | Y | ELC-RCC-002 December 2020
Drainage Layout (including SUDS)
Drainage Construction Details
Drainage Longitudinal Sections
Manhole schedule
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
Enter title of additional drawing
All the white boxes on each worksheet should be filled in before submitting an application for Road Construction Consent.
Any queries? Contact transportplanning@eastlothian.gov.uk
Note on A36: Haddow, Morag: A SW Audit should be submitted with the RCC pack, and if any changes are subsequently made we will need confirmation from SW that these do not materially affect the water infrastructure. NB. All SuDS associated with roads drainage must be included in the RCC for that phase (or in earlier RCCs)
Note on A37: Haddow, Morag: All structures such as culverts and embankments potentially affecting the roads and paths must haveTechnical Approval before the RCC can be issued.
Note on A38: Haddow, Morag: Confirm that you have engaged with our Streetlighting Officer and are aware of their requirments. An RCC can't be issued until they have approved the final drawings. NB. All cabinets and controllers for the streetlighting must be included within the respective RCC phase (or an earlier one)
Note on A39: Haddow, Morag: Confirm that you have engaged with our EV Infrstructrure Officer and are aware of their requirments. An RCC can't be issued until they have approved the final drawings.
Note on C43: If there is no footway, a road will be expected to have a 2m-wide verge on both sides. If the 'footway' is separated from the road by verge then it should be treated as a remote path. Paths are expected to have a 1m-wide mown-grass verge on both sides

## Road Bond
Values checked and updated if necessary - 19 June 2024
| Unit | Quantity | Rate | Total | Developer comments | ELC response
Drainage
Gullies | number |  | 500 | 0
Gully connections | number |  | 100 | 0
Length of pipe (Surface water) | metres |  | 100 | 0
length of pipe (Foul water) | metres |  | 100 | 0
Foul manholes | number |  | 1500 | 0
Surface manholes | number |  | 1500 | 0
SuDS features:
Pond/wetland/swale/basin | sq.m |  | 140 | 0
Filter drain | metres |  | 150 | 0
Permeable paving (not in carriageway) | sq.m |  | 184 | 0
Underground storage | cu.m |  | 350 | 0
Carriageways
ASPHALT CARRIAGEWAY | sq.m |  | 145 | 0
BLOCK CARRIAGEWAY | sq.m |  | 171 | 0
Footways
Footway | metres |  | 231 | 0
Path (remote footway) | metres |  | 316 | 0
Service strip | metres |  | 50 | 0
Street Lighting
Column | number |  | 2000 | 0
Controller | number |  | 2500 | 0
|  |  | SUB-TOTAL: | 0
|  | ADD 3 years inflation at 3% per year and 10% contingency by mulitplying by: | 1.202 | 0
BOND VALUE: | 0
The SCOTS guide for the Road Construction Consent and Road Bond process states that Road Bond scheme does not apply to these organisations:
• local authorities;
• the Scottish Government;
• A housing association registered in the register of housing associations maintained under section 3 of the Housing (Scotland) Act 2001 (d) where the housing project falls within a programme approved and financed) or guaranteed) by the Scottish Government or by a local authority;
• An unregistered self-build societies, where the housing project is financed by a loan from the Housing Corporation or a local authority or, if the project is financed from another source, it is guaranteed by the Housing Corporation.
Note on A7: In adoptable areas
Note on A8: Double gully might only have a single connection
Note on A9: Excluding connections from households
Note on A10: Excluding connections from households
Note on A14: Even if these will ultimately be adopted by SW, we still need bond to cover cost of building
Note on D15: Haddow, Morag: Added on 40% since 2019
Note on D18: Haddow, Morag: Added on 40% since 2019

## Misc.
| Developer comment | P/C/F/N | ELC response
Location Plan
Shows scale
Nearest classified roads clearly marked
Surrounding streets and 'Gateways'
Any new urban 'Gateway' requires localised road narrowing as well as signage and road markings
Raised tables at site accesses should extend into main road (in an apron shape) where additional traffic calming is required on the main road
Raised tables are preferred for provising crossing points, but where it is not possible to retro-fit these to existing roads, double-D islands (min width 1.2m) should be installed at crossing points (ask for standard detail if required)
Are visibility splays for major junctions acceptable?
Does all of the visibility splay lie within the public road or is under the applicant's control?
At site accesses, confirm that there are NO objects above height 1.05m (or likely to grow to a height above 1.05m) within the visibility splay. Drawings should indicate the heights of any obstructions (e.g. boundary fences) within the visibility splay
Long. sections
Max. gradient of paths is 1 in 20 or follows Roads for All Guidance for ramps
Min gradient of paths and roads is 0.8% to reduce risk of ponding
Stepped alternative to all ramps
Max. gradient of roads is 1 in 12
Gullies must be provided at all low points
Confirm that there are no abrupt changes in level at surrounding roads and paths
Cross-sections
Max. gradient of paths is 1 in 20 or follows Roads for All Guidance for ramps
Min gradient of paths and roads is 0.8% to reduce risk of ponding
Cross sections should be provided to areas outwith the site where there a questions over the height of surrounding land. This is particularly relevant when ped/cycle routes have to connect with adjacent paths or roads may need retaining structures
Swept paths
Vehicle 2.5m wide, 6.1m wheelbase within an overall vehicle length of 10m ("Large Rigid Vehicle" as outlined in the Freight Transport Association's document "Designing for Deliveries" - see diagram below) - dimensions to be marked on the plan
No overhanging of footways at all
Additional swept path for bus route using a 12m bus
Swept paths for "large rigid vehicle" travelling in both directions are required
On bus routes and roads which are likely to be busy with HGVs, there should be no overlap of the swept paths for vehicles travelling in opposite directions

## Gen.Arr.
| Developer comment | P/C/F/N | ELC response
Context
Roads and paths connect to surrounding network (and this is clearly shown)
Parking and Driveways
Sufficient parking? 1.5 per dwelling <=5 habitable rooms, 2.25 per dwelling >5 habitable rooms
Visitor parking is distributed around site and there is some in adoptable areas
Driveway dimensions are 3.3m x 6m (single), 6m x 6m or 3.3m x 11m (double)
Driveways should be hard-formed, and permeable to reduce water run-off, and any run-off should be directed away from the road.
Driveway gradients must be < 5% (1:20) in order to be accessible.
Driveways and parking spaces have sufficient space for reversing out (6m of combined carriageway and footway for parking spaces perpendicular to the road). NB. Where shared driveways allow access to plots at right angles, the shared space will need to be 6m wide to enable manoeuvring into individual plots.
Reinforced footway crossings are required for unadopted areas. Bellmouths are required for adopted car parks
Private driveways should serve no more than 2 properties - otherwise they should be factored
Footways/ paths
Footways should not deviate from the desire line for parking bays or junction mouths
There should be an adoptable footway to every front door/driveway
All adoptable footways must be at least 2m wide & lit
All adoptable shared-use paths for non-motorised users must be at least 3.5m wide and lit
All adoptable paths must have a level 1m-wide mown-grass verge on both sides
If path also for emergency vehicles, it must be 3.7m wide and built to road standards
Where a pedestrian desireline crosses a junction mouth and the radius is very large, the corner radius should be tightened to reduce the crossing distance. Only if this is not possible, the crossing may be stepped back from the desireline.
Raised tables with tactile paving are required at every main desireline crossing.
Tactile paving should be parallel to direction of travel, not necessarily parallel to kerb
Min. depth of tactile paving is 800mm (2 tiles)
Gradients steeper than 5% should be treated as ramps, and steps should usually be provided as well as ramps.
Any steps must have an alternative route which may be ramped or have a 5% gradient at most. Check Roads for All guidance.
Steps should have double handrails on both sides and tramtrack tactile paving (parallel to steps at top and bottom)
There should be no private apparatus e.g. sprinkler systems or charging infrastructure under the adoptable areas (including footways, verges and carriageways).
Shared spaces for motorised and non-motorised users
Shared spaces are only where vehicle speeds are physically limited to less than 10mph, or within short cul-de-sacs
Raised tables in shared spaces must be accessible (i.e. the ramps should be shallower than 5%) but should be avoided if possible
The doors of dwellings shouldn't open into carriageways or shared spaces. A pedestrian safeguard of at least 1.5m is required
Streets
Standard width for residential areas is 5.5m (or 6m for bus routes). As little as 3.7m can be accepted for short stretches provided swept paths indicate large rigid vehicles will not overhang the footway on any manoeuvre
Min. width of a cul-de-sac is 5.5m This is to enable access at all times for residents and emergency vehicles when future maintenance is undertaken (5.5m allows at least a single lane to be open to traffic)
Traffic calming features at appropriate spacing (30-40m in residential areas)
Any build-outs should have reflective bollards, and ideally be tapered towards oncoming traffic
Any planting adjacent to driveways and carriageways should be limited to 1000mm in height (via factoring arrangement), in order that it doesn't interfere with sightlines
Every dwelling should have at least one door which is no more than 45m from a public road.
No emergency vehicle should have to reverse more than 20m (on a public road).
Bus stops
Bus stops/shelters marked must be shown
Bus routes should be in a continuous loop and avoid turning heads.
Consider how busy bus stops will be and if the shelter should be set back
If there is a verge, additional hardstanding will be required between the footway and the carriageway
A standard bus requires 20m length to pull in and pull away. It is usually not a problem for buses to stop in front of driveways as they will only be there for a short while.
No dwelling should be more than 400m from bus stop
There should be a suitable place to cross the road to get to the opposite bus stop
Any raised table on a potential bus route should have a 1 in 20 ramp
Note on A47: Notes from Building Standards Vehicle access should be provided to at least one elevation of all domestic buildings to assist in fire-fighting and rescue operations. Every house: should be provided with a vehicle access route for fire-fighting vehicles from a public road to not more than 45m from any door giving direct access to the interior of the dwelling. Flat or maisonettes: with a common entrance, a vehicle access route for fire-fighting vehicles from a public road should be provided not more than 45m from the common entrance Effectively then the 45 m distance from that point is covered by: In order to allow unobstructed access to a domestic building for fire and rescue service personnel, a paved (or equivalent) footpath at least 900mm wide (see also Section 4 Safety) should be provided to the normal entrances, of a domestic building. The matter being raised probably relate to this in the standards: Dead end route - fire and rescue service vehicles should not have to reverse more than 20m from the end of an access road. Where any dead-end route is more than 20m long, turning facilities should be provided. This can be a turning circle or a hammerhead designed on the basis of the diagram and table below. A little tweak in all this may be were the domestic building was a block of flats that required dry or wet risers (pipes installed in the building with outlets at each storey level) if this is the case then this bit comes into play: In addition, where dry or wet fire mains are installed in a building parking spaces should be provided for fire and rescue service vehicles a distance not more than 18m from riser inlets. The intention is to assist fire and rescue service personnel connect a short length of hose between the pumping appliance and the inlets to the fire mains quickly and efficiently therefore saving operational time. The inlet referred to is usually sited at the main entrance to the flatted block or at least where the stairs are situated.

## Kerbs&Surfaces
| Developer comment | P/C/F/N | ELC response
Kerbing
Use key for kerb types from ELC's standard drawings
100mm kerb for all footways (Guide Dogs for the Blind Association suggests at least 60mmm is required, but 100mm much better to prevent parking on the footway)
0-5mm kerb for driveways
0-5mm kerb for all ped crossings
There should be dropped kerbs on every pedestrian desire-line, with tactile paving on main pedestrian routes. Tactile paving is essential where the crossing is at grade, in order to allow partially-sighted people to detect the edge of the footway)
No round-top edging to be used
There should not be a kerb between adoptable parking bays and adoptable carriageway
There must be a vertical difference of 100mm between road and a garden in case of flooding
Ensure that wheelchair users exiting a vehicle in a public parking bay do not have to travel too far (less than 10m?) before they reach a drop kerb to access the footway
There should not be any kerbs across the carriageway. Raised tables, for example, should be formed in tar. The only times kerbs across the carriageway will be acceptable is where there is a change of material which warrants it, but these occasions should be kept to a minimum
Quadrant kerbs should be used where appropriate
Bus stops should NOT include Kassel kerbs
There must be at least 100mm kerb at bus stop boarding point (not Kassell kerbs)
Surfacing
Pavoirs are discouraged on the adopted road but, where they are used, they must be on straight sections of road only
There must be no paviors on junctions or areas with significant turning movement
Raised tables should be formed in tar with red chip (preferred) or imprint
There should not be any paviors on raised table slopes, or within 2m of apex or the start of the raised table to avoid need for kerbs on the apex or at the bottom of the ramp
Pavoirs must not be used for footways (unless contructed to road standards, as vehicle over-run causes damage, and no effective weedkillers are available)
Channel kerbs across the carriageway are required to retain pavoirs where these are used

## Adoption&factor
| Developer comment | P/C/F/N | ELC response
Road Adoption Plan
Road numbers must be clearly shown
Plot numbers should also be clearly shown
Chainages must be shown
Adopted litter bins must be accessible by waste collection vehicles i.e. by the road
There must be an adoptable path to every front door or driveway
People should not have to walk more than 45m to take private waste bins to the collection point on the adopted road
Factoring Plan (may be combined with Adoption Plan or separate)
Contact details of factor must be clearly marked
Car chargers should be shown and will generally be the responsibility of the factor
Litter bins should be provided in play parks, and will generally be the responsibility of the factor
Litter bins (which also function as dog waste bins) should be provided at all bus shelters, and at the beginning/end of remote paths. If proposed for adoption they should conform to the spec of the Wybone LBV6. Confirm locations of adoptable bins with Amenity Services.
Grit bins should be marked. There must be at least 1 grit bin per site and 1 per 50 houses or 1 per 100 linear metres
Grit bins must not obstruct the carriageway or footway and will generally need an area of hardstanding
Grit bins to be located where they can be filled by a lorry i.e adjacent to a road

## Detail,signs&signals
| Developer comment | P/C/F/N | ELC response
Road Construction Details
ELC Details drawing ELC-RCC-001 is used
No details are repeated on developer's details sheets
Additional details comply with ELC standards
Drainage Details
ELC Details drawing ELC-RCC-001 is used
No details are repeated on developer's details sheets
Additional details comply with ELC standards
Signs and lines
For 20mph areas, repeater signs are provided on lampposts (use common sense) and every 3-4 lampposts on longer stretches of road.
Are new speed limit signs required at entrance to development?
Are give way markings required at entrance to development or at any other points within it?
Gateway/Village Entry treatments (often specified as a planning condition) should include physical features such as road narrowing, if there is space, or carriageway realignment. As a last resort, painted build-outs with cats-eye edging and red surfacing at gateway can be used.
Positions of street name plates should be shown, and should be at back of footway (not in gardens).
Street signs above footways should be 2.2m high. Where is is also a cycle path, they should be 2.4m high.
Street nameplates to spec below. The height of any freestanding sign must be no higher than 1.05m
Contrasting coloured banding required on sign poles for visibility
Raised tables should have shark's teeth
Give Way markings should be provided at major junctions
Shared-use paths should have appropriate signage
20mph repeater signs should be specified where appropriate
Signals
Road Safety Audit for signals (Stage 1 and 2)
Road Safety Audit for signals - Designer's Response

## Drainage
| Developer comment | P/C/F/N | ELC response
Scottish Water
Scottish Water Technical Audit received and refers to drainage layout and drainage construction details drawings
Details of all drainage features to be adopted by SW are included in SW drawing pack
We have copies of drawings referred to in Scottish Water Audit
Any updated versions of these drawings referred to have non-material changes
Drainage Construction Details
ELC only adopting above-ground (1 in 200 year plus climate change) features. Confirmation that Scottish Water will adopt all other features
Prospectively adoptable features (other than gullies and manholes) approved by Drainage Team Leader
Any underground features (other than gullies and manholes) proposed for adoption are for Roads drainage only. Not in-curtlage drainage or open space run-off.
Drainage Longitudinal Sections
Ensure there are gullies at low points, no abrupt changes in level, and cross reference with Drainage layout drawing
Drainage Manhole Schedules
Locations should match layout drawings
Drainage Layout
In permeable paving gullies are required at least every 70m
Otherwise gullies are required at the frequency specified in Table 16 of Standards for Development Roads
All gullies/fin drains etc. must be connected to sewers
There should be no gullies on pedestrian crossing points
There should be double gullies at low points
Gullies should be provided upstream of main ped/cycle crossing points to reduce likelihood of ponding at the crossing
Gullies should be just upstream of raised features
Gullies should be just upstream of tangent points at junctions
Unless in sewers, only drainage from the roads should be under the roads
No private sewers under adopted road - there should be a disconnection chamber installed on private sewers directly behind the adopted road kerb
There should be no manholes in front of driveways
Driveways should shed water to landscaping rather than onto the road. This should also be the case for permeable driveways which will silt-up or compact over time.
SuDS
Discharge points must be indicated
The outfall and infall of the basin must be accessible from public roads (ideally) or at least 3m grasscrete path?
There must not be any permeable paving in carriageways - it should be confined to parking bays and private areas
There must not be any filter trenches or similar under adoptable footways
Permeable paving must have fin drains with connection to basin/sewer
Swales adjacent to carriageways should be protected from vehicle overrun by at least a 100mm kerb, or bollards/planting
No trees on top of SuDS (Cross-reference with landscaping drawings. If trees have been removed, this needs to be reviewed by Planning Services)
Confirm that all SuDS features were included in planning drawings and have planning permission
Utility Drawings
There shouls be no connection points in the carriageway

## CMS
| Developer comment | P/C/F/N | ELC response
The document should include the following details as a minimum:
Hours of construction work/business Care should be taken to avoid adding peak congestion. East Lothian Secondary school times are 8.30-15.25 Mon-Thurs, 8.30-12.15 Fri. Lunch 13.05-13.45. Primary schools have local times
Details of wheel-washing facilities including confirmation that these will be maintained in working order and will be used to prevent deleterious materials being carried onto the public road
Details of how/when the surrounding roads will be swept to keep clear of soil falling from loads
Area map showing routes along roads within East Lothian, and where any additional signage will be erected
Details of how SuDS features (e.g. porous paving) and setted surfaces will be protected during the build
Details of how surface water run-off will be controlled during the build
Details of how contractors, visitors and suppliers will be informed of the existence of these policies, and how they will be enforced
Details of how and when the Traffic Management Plan will be reviewed and updated
Details of discussion with ELC officers around considerations such as dilapidation surveys and areas of concern on routes of construction traffic
Site map should demonstrate the following as a minimum:
Building construction order, taking into account different routes if there are multiple developers.
Any temporary haul roads required
Any temporary parking restrictions required
Location of site compound
Location of site car park – if the site is to be divided between developers, the CMS should confirm that all contractors will be able to use the car park, or alternative provision made
Location of material storage area
Construction vehicle turning area
Wheelwash area
A Construction Method Statement will include a construction/demolition Traffic Management Plan as well as mitigation for noise impacts and general health and safety. Road Services will only comment on the Traffic Management elements.
The term Traffic Management Plan is also used to control how traffic on a commercial development will be controlled in the long term.
The Traffic Management Plan should be constantly monitored and reviewed taking into changing circumstances.

## Conditions
e.g. 21/XXXXX/PM (Planning Permission in Principle)
| Developer comment | P/C/F/N | ELC response
Enter text of first relevant planning condition
Enter text of second relevant planning condition
Enter text of third relevant planning condition
Enter text of fourth relevant planning condition
e.g. 21/XXXXX/AM (Approval of Matters)
| Developer comment | P/C/F/N | ELC response
Enter text of first relevant planning condition
Enter text of second relevant planning condition
Enter text of third relevant planning condition
Enter text of fourth relevant planning condition
Any other relevant Planning Application
| Developer comment | P/C/F/N | ELC response
Enter text of first relevant planning condition
Enter text of second relevant planning condition
Enter text of third relevant planning condition
Enter text of fourth relevant planning condition
Enter the text of any relevant planning conditions for each application e.g planning conditions which relate to speed limit changes, bus stops, gateways, lighting or crossing points on external streets, or any remote paths which need to be constructed.

## External Audit
| Designer's response | P/C/F/N | ELC response
Quality Audit
Enter issue 1
Enter issue 2
Enter issue 3
Enter issue 4
Road Safety Audit
Enter issue 1
Enter issue 2
Enter issue 3
Enter issue 4
If independent external audits have been required, you must itemise the issues raised below, together with your response to these.